## Slide 1
REMOTELY NAVIGATED AUTOMATED WATER QUALITY
SAMPLING SYSTEM
Presented by: PEP_11

## Slide 2
AGENDA
01
Introduction
02
Objectives
03
Procedures
04
Personnel & facilities
05
Hardware & Software Requirements
06
Budget
Presenter – IT22310132

## Slide 3
Necessity of human presence at the sampling location.
Major problems,
  Limited Data Collection
  Safety issues
  Inaccessibility of Real-Time Data
  Physical inaccessibility to certain areas
  Cost & Resource burden
Presenter – IT22310132

## Slide 4
SOLUTION ARCHITECTURE
Presenter – IT22310132

## Slide 5
Benefits
Improved Data Collection
Enhanced safety
Increased Data Accuracy
Real-time data access & analysis
Presenter – IT22032874

## Slide 6: Objectives
To develop a water quality measurement system that can be mounted on a remotely navigated boat.
  Water pollution monitoring
  Reducing associated costs & manpower
  User Accessibility
Presenter – IT22320728

## Slide 7: Procedures
Flow of the project (Methodology)
Development of robotic arm
Define the requirements.
Identify the range of motion.
Determine the payload capacity.
Choose suitable actuators.
Program the robotic arm.
Verify rotational and vertical movement capabilities of the robotic arm.
Conduct comprehensive testing.
Identify any design flaws or performance issues and fixing them.
Deploy the finalized robotic arm system.
Presenter – IT22310132

## Slide 8
Reading pH values using a pH sensor
Identify the hardware requirements.
Draw the circuit diagram.
Wire the setup.
Program the microcontroller.
Calibrate the pH sensor.
Transmit pH data to a web-based dashboard.
Store the received data in a database.
Test the pH sensor device.
Deploy the pH sensor device.
Presenter – IT22320728

## Slide 9
Reading turbidity values using a turbidity sensor
Identify the hardware requirements.
Design the circuit diagram.
Wire the setup according to the circuit diagram.
Program the microcontroller to take necessary readings.
Calibrate the turbidity sensor.
Transmit data to a web-based dashboard.
Store the received data in a database.
Test the turbidity sensor device.
Deploy the turbidity sensor device.
Presenter – IT22032874

## Slide 10
Location tracking using a GPS tracking system
Determine the specific requirements for the IoT device.
Choose appropriate hardware components.
Configure the GPS module.
Display real-time data and store them in a database.
Test and debug the device.
Deploy the GPS tracking device.
Presenter – IT22083050

## Slide 11
Development of a Web-Application and a database
Identify the software requirements of the system.
Find suitable software applications.
Develop the web-based application and the database.
Test and debug.
Deploy the system.
Presenter – IT22032874 & IT22083050

## Slide 12: GANTT Chart
Presenter – IT22032874

## Slide 13: Personnel & Facilities
Student ID / Name | Function Name | Role | Facilities
IT22310132 Muthukumarana T D | Robot Arm Implementation Database Design & Implementation | Project Manager Business Analyst Developer | 4-DOF Robot Arm Kit Arduino UNO R3 Servo Motors MongoDB
IT22032874 Gayanuka Weerasekara | Programming the turbidity sensor. Database Design & Implementation. | Business Analyst Developer | Turbidity Sensor Arduino UNO R3 MongoDB
IT22320728 R A S M Ranawaka | Programming the pH sensor. Robot Arm Implementation. | Business Analyst Developer | Liquid PH sensor with electrode probe Arduino UNO R3 Servo Motors 4-DOF Robot Arm Kit
IT22083050 R K Kaween Rashmika | GPS tracking system. Web-based application Implementation | Business Analyst Developer QA | GPS Module NodeMCU esp8266 Wi-Fi Development Board Node-RED

## Slide 14
Hardware & Software Requirements

## Slide 15
Budget